**Building Closure Checklist**

In the event that a building is being closed the following steps should take place:

|  |
| --- |
| **Building Closure Checklist** |
| **Fire Safety** |
| secure all flammable chemicals and any materials which could be used to start a fire |[ ]
| ensure any cookers are switched off |[ ]
| close all internal doors and fire doors to limit potential fires from spreading |[ ]
| email the Contact Centre – emergency.control@falkirk.gov.uk- to notify them of the building closure and who the appropriate keyholder is in the case of a security or fire alarm |[ ]
| **Housekeeping** |
| ensure that refuse containers are in a secure location away from the building and kept locked where possible |[ ]
| ensure all water outlets (taps, showers, etc are fully switched off) |[ ]
| ensure floors and work surfaces are cleaned appropriately |[ ]
| switch off all lights and turn off PCs and monitors. Some teams need their PCs left on so they can work remotely – these PCs should be left on. |[ ]
| appropriately dispose of all food waste and perishable items within the building |[ ]
| Empty and turn off all fridges & freezers and leave the doors open Note: where it is essential for a fridge or freezer to stay on this should be clearly marked. |[ ]
| all air conditioning units should be switched to the off position. NOTE**: Except IT server rooms,** these units should be left running. |[ ]
| building heating should be reduced to frost protection |[ ]
| email propertystandards@falkirk.gov.uk notifying them of the closure and any building issues (such as leaks, broken windows, etc). Provide contact details of the keyholder in the event access needs to be arranged |[ ]
| **Building Security** |
| secure and lock all windows and entrances/exits to the building |[ ]
| ensure external lighting is operating appropriately |[ ]

In the event that employees are re-located to another Council building, the Premises Manager of the building the staff are relocated to should:

|  |  |
| --- | --- |
|  |  |
| arrange for employees to be briefed on fire evacuation procedures |[ ]
| ensure that adequate Fire Wardens are appointed. If additional Fire Wardens are needed they should complete the Olle Fire Warden training module |[ ]
| ensure that the Fire Risk Assessment is updated if the occupancy of the building has significantly changed |[ ]
| ensure the First Aid needs assessment is reviewed to ensure there is adequate first aid provision |[ ]
|  identify if any new occupants require a PEEP and work with them and their line manager to complete one |  |